## Slide 1: Energy Efficiency in Arlington County John Morrill, Energy Manager jmorrill@arlingtonva.us Virginia Energy Efficiency Council, Richmond November 12, 2015

## Slide 2
2
Arlington Initiative to Rethink Energy
Overview of program
Recent highlights
Focus on recent successes with LEDs.

## Slide 3
3
Arlington Initiative to Rethink Energy
Launched 2007, built upon existing programming
Local government action on climate change
Goal: Cut GHG emissions from operations 10% by 2012
Energy efficiency focus, with cleaner power & fuels
Community engagement, develop community plan

## Slide 4
4
Success!

## Slide 5
5
Building Upon Success
Community Energy Plan adopted June 2013
  New element of Comprehensive Plan
Headline Goal:
Cut GHG emissions from 13 mt/capita to 3 mt/capita by 2050
Loading order:
  1. Improve energy efficiency
  2. Pursue heat recovery (large and small)
  3. Renewables as clean fuel
  4. Integrated planning with distributed generation

## Slide 6
6
Building Upon Success
How achieve 75% improvement in 35 years?
Raise the bar – we joined the DOE Better Buildings Challenge
Interim target: 20% reduction in energy/sq. ft. by 2020 vs. 2009.

## Slide 7
7
Building Upon Success
How achieve 75% improvement in 35 years?
We raised the bar – joined the DOE Better Buildings Challenge
Interim target: 20% reduction in energy/sq. ft. by 2020 vs. 2009.
With gains made 2000–2012, how are we going to get another 20 percent?

## Slide 8
8
Building Upon Success
Retrofits; retro-commission; schedule smart; new technology.

## Slide 9
9
Building Upon Success
The mighty white LED…
… worth a Nobel Prize

## Slide 10
10
Ballston Garage LED retrofit
2,800 parking space garage, 7 floors, built 1950s
Home to NHL Washington Capitals’ practice facility on top, 2006

## Slide 11
11
Ballston Garage LED retrofit

## Slide 12
12
Ballston Garage LED retrofit
~$100,000 annual savings (power + maintenance)
~ 1 million kWh annual savings

## Slide 13
13
Ballston Garage LED retrofit

## Slide 14
14
Cherrydale Library LED retrofit

## Slide 15
15
Cherrydale Library LED retrofit

## Slide 16
16
Commercial lighting rebate program 2012-2014

## Slide 17
17
Onward – The future is bright,
we are confident we will achieve goals
Thomas Jefferson Middle School & Community Center – APS gym LED retrofit

## Slide 18
  John Morrill – jmorrill@arlingtonva.us
  www.arlingtonenergy.us
Thank you